## EPL Details
Environmental Protection Licence- 12856
Download the current EPL on the EPA's Public Register at the link below:
http://www.epa.nsw.gov.au/prpoeoapp/
Licence Details
Number: 12856
Anniversary Date: 09-July
Latest Version Date: 9-Jun-2026
Licensee
BLOOMFIELD COLLERIES PTY LTD
PO BOX 4
EAST MAITLAND NSW 2323
Premises
ABEL UNDERGROUND MINE AND DONALDSON OPEN CUT MINE
1132 JOHN RENSHAW DRIVE
BLACK HILL NSW 2322
Scheduled Activity
Coal Works
Mining for Coal
Fee Based Activity | Scale
Coal works | 0-2000000 T annual handling capacity
Mining for coal | 0-500000 T annual production capacity
Region
North East- Hunter
Ground Floor, NSW Govt Offices, 117 Bull Street
NEWCASTLE WEST NSW 2302
Phone: (02) 4908 6800
Fax: (02) 4908 6810
PO Box 488G NEWCASTLE
NSW 2300

## Glossary of Terms
Glossary of Terms
Term | Definition
dB(L) | Decibel (Linear Peak)
EPA | Environmental Protection Authority
EPL | Environment Protection Licence
g/m2/month | Grams per Meter squared per Month
HVAS or HiVol | High Volume Air Sampler
mg/L | Milligrams Per Litre
mm/s | Millimetres Per Second
NEPM | National Environment Protection Measures
PM(10) | Particulate Matter 10 micrometres or less in diameter
TSS | Total Suspended Solids
µg/m3 | Micrograms per Cubic Meter of Air
µS/cm | Microsiemens per Centimetre

## Surface Water
Surface Water Monitoring
NS = Not Sampled
| Site 1 - EPA ID 4 |  |  | Site 10 - EPA ID 5 |  |  | Site 11 - EPA Site 6 |  |  |  | FMCU - EPA Site 7 |  |  | FMCD - EPA Site 8 |  |  | WFCU - EPA Site 9 |  |  | WFCD - EPA Site 10 |  |  | SDCU - EPA Site 11 |  |  | SDCD - EPA Site 12
Frequency | Once a month |  |  | Once a month |  |  | Once a month |  |  |  | Once a month |  |  | Once a month |  |  | Once a month |  |  | Once a month |  |  | Once a month |  |  | Once a month
Date | pH | Conductivity | TSS | pH | Conductivity | TSS | pH | Conductivity | TSS | Date | pH | Conductivity | TSS | pH | Conductivity | TSS | pH | Conductivity | TSS | pH | Conductivity | TSS | pH | Conductivity | TSS | pH | Conductivity | TSS
|  | (µS/cm) | (mg/L) |  | (µS/cm) | (mg/L) |  | (µS/cm) | (mg/L) |  |  | (µS/cm) | (mg/L) |  | (µS/cm) | (mg/L) |  | (µS/cm) | (mg/L) |  | (µS/cm) | (mg/L) |  | (µS/cm) | (mg/L) |  | (µS/cm) | (mg/L)
2026-01-05 | 6.91 | 1734 | 8 | Too low to sample |  |  | 7.3 | 299.2 | 318 | 2026-01-22 | 6.73 | 219 | <5 | 7.06 | 159.6 | 6 | 7.34 | 164.4 | <5 | 6.96 | 931.3 | 22 | 6.93 | 188.6 | 16 | 6.51 | 110.6 | 25
2026-02-05 | 6.95 | 1291 | <5 | Too low to sample |  |  | 7.07 | 963.9 | 22 | 2026-02-20 | 7.06 | 243.3 | 8 | 7.28 | 144.4 | <5 | 7.22 | 130 | <5 | DRY |  |  | 6.74 | 218.4 | 16 | 6.69 | 149.4 | 102
2026-03-04 | 7.05 | 1339 | <5 | DRY |  |  | 7.45 | 268.7 | 10 | 2026-03-20 | 6.94 | 249.6 | 14 | 8.47 | 153.4 | 6 | 7.53 | 159.7 | <5 | DRY |  |  | 7.3 | 235.5 | 23 | 6.88 | 175.5 | 51
2026-04-01 | 6.27 | 269.5 | 56 | 7 | 1195 | 16 | 7.34 | 306.7 | 20 | 2026-04-23 | 7.29 | 214.6 | 9 | 7.15 | 131.9 | <5 | 7.36 | 129.5 | <5 | DRY |  |  | DRY |  |  | 6.74 | 124.2 | 30
2026-05-07 | 6.98 | 367.7 | 25 | DRY |  |  | 7.59 | 210.4 | 7 | 2026-05-21 | 5.85 | 158 | 12 | 7.91 | 132.8 | <5 | 6.77 | 151.8 | <5 | DRY |  |  | 6.64 | 182.5 | 185 | 5.88 | 151 | 190
2026-06-03 | 6.06 | 290.1 | 56 | 7.03 | 950.1 | 10 | 7.33 | 405.3 | 108 | 2026-06-17 | 6.13 | 264.3 | 13 | 7.6 | 146.8 | <5 | 6.75 | 165.7 | 28 | 6 | 902.1 | 6 | 6.37 | 143.3 | 95 | 5.94 | 113 | 400
2026-07-13 | 6.66 | 679.2 | 14 | 7.27 | 1252 | <5 | 6.9 | 1382 | 9 | 2026-07-15 | 6.46 | 212.9 | <5 | 7.76 | 144.7 | <5 | 7.11 | 243.6 | <5 | 6.58 | 634.2 | 54 | 6.61 | 141.7 | 27 | 6.72 | 176.7 | 860

## Ground Water
| DPZ-3 - EPA ID 13 |  |  |  | DPZ-6 - EPA ID 16 |  |  |  | DPZ-8 - EPA ID 14 |  |  |  | DPZ-10 - EPA ID 17 |  |  |  | Reg DPZ-1 -EPA ID 15 |  |  |  | JRD2 -EPA ID 18
Frequency | Once a month |  |  |  | Once a month |  |  |  | Once a month |  |  |  | Once a month |  |  |  | Once a month |  |  |  | Once a month
Date | Depth | pH | Conductivity | TSS | Depth | pH | Conductivity | TSS | Depth | pH | Conductivity | TSS | Depth | pH | Conductivity | TSS | Depth | pH | Conductivity | TSS | Depth | pH | Conductivity | TSS
| (m) |  | (µS/cm) | (mg/L) | (m) |  | (µS/cm) | (mg/L) | (m) |  | (µS/cm) | (mg/L) | (m) |  | (µS/cm) | (mg/L) | (m) |  | (µS/cm) | (mg/L) | (m) |  | (µS/cm) | (mg/L)
2026-01-22 | 8.89 | 5.83 | 547.3 | 77 | 33.59 | 6.59 | 1793 | 25 | 30.28 | 3.39 | 2238 | 28 | 10.9 | 6.94 | 3420 | 47 | 18.87 | 5.33 | 2111 | <5 | 35.18 | 6.57 | 1407 | 13
2026-02-20 | 8.04 | 5.92 | 534.2 | 38 | 34.32 | 6.6 | 1967 | 311 | 30.34 | 3.59 | 1766 | 25 | 11.01 | 6.9 | 3110 | 76 | 19.06 | 5.34 | 1876 | <5 | 35.37 | 6.74 | 1639 | 39
2026-03-20 | 9.09 | 5.95 | 471.9 | 68 | 34.4 | 6.55 | 1771 | 76 | 30.35 | 4.34 | 2108 | 94 | 11.08 | 7 | 3290 | 9 | 19.13 | 5.37 | 2003 | <5 | 36.17 | 7.12 | 2176 | 20
2026-04-23 | 9.25 | 6.21 | 443.2 | 106 | 34.56 | 6.61 | 1893 | 393 | 30.4 | 3.3 | 1840 | 13 | 11.16 | 6.86 | 3280 | 19 | 19.26 | 5.32 | 2029 | 11 | 37.32 | 6.96 | 2242 | 23
2026-05-22 | 8.19 | 5.47 | 158.7 | 82 | 34.79 | 6.52 | 2166 | 152 | 30.29 | 2.99 | 1887 | 14 | 10.28 | 6.59 | 3290 | 31 | 19.33 | 5.1 | 2040 | 13 | 36.5 | 6.73 | 2212 | <5
2026-06-18 | 8.17 | 4.64 | 1514 | 104 | 34.49 | 6.59 | 1689 | 78 | 30.45 | 5.4 | 2830 | 42 | 11.22 | 6.62 | 2883 | 12 | 19.33 | 5.21 | 2009 | 9 | 37.55 | 6.88 | 2048 | 20
2026-07-16 | 9.24 | 5.15 | 1402 | 62 | 34.2 | 6.13 | 1882 | 115 | 30.5 | 3.18 | 1729 | 16 | 11.8 | 6.73 | 3070 | 23 | 19.46 | 5.1 | 1983 | 5 | 32.82 | 6.92 | 2222 | 13
Note on R186: Jen Bridge: Sampled 25/7/2023.
Note on F187: Jen Bridge: Sampled 29/8/2023
Note on R187: Jen Bridge: Sampled 29/8/2023
Note on B199: S Dooley: Standpipe is now 2m from ground level
Note on F200: S Dooley: H2S odour slight grey
Note on V200: S Dooley: H2S odour slight brown

## Air Quality
Donaldson - Abel ES01 E-Sampler PM10 Results - EPA ID 3
DAILY SUMMARY
Date | PM10 24hr Avg | Rolling Annual 24hr Average | Comments | 2019-11-01 | E-Sampler installed 31/10/19
2026-01-01 23:55 | 17.3576 | 17.3576
2026-01-02 23:55 | 6.3664 | 11.862
2026-01-03 23:55 | 5.3653 | 9.6965
2026-01-04 23:55 | 6.0386 | 8.782
2026-01-05 23:55 | 8.79 | 8.7836
2026-01-06 23:55 | 12.8704 | 9.4647
2026-01-07 23:55 | 7.6251 | 9.2019
2026-01-08 23:55 | 5.5673 | 8.7476
2026-01-09 23:55 | 6.8025 | 8.5315
2026-01-10 23:55 | 8.632 | 8.5415
2026-01-11 23:55 | 46.7602 | 12.0159
2026-01-12 23:55 | 15.3848 | 12.2967
2026-01-13 23:55 | 14.1437 | 12.4388
2026-01-14 23:55 | 13.7075 | 12.5294
2026-01-15 23:55 | 14.4247 | 12.6557
2026-01-16 23:55 | 11.8459 | 12.6051 | Some data removed due to Calibration /Maintenance
2026-01-17 23:55 | 13.5261 | 12.6593
2026-01-18 23:55 | 16.3156 | 12.8624
2026-01-19 23:55 | 12.3845 | 12.8373
2026-01-20 23:55 | 9.355 | 12.6631
2026-01-21 23:55 | 8.5646 | 12.468
2026-01-22 23:55 | 17.7586 | 12.7085
2026-01-23 23:55 | 19.3656 | 12.9979
2026-01-24 23:55 | 8.793 | 12.8227
2026-01-25 23:55 | 12.724 | 12.8188
2026-01-26 23:55 | 28.141 | 13.4081
2026-01-27 23:55 | 12.5045 | 13.3746
2026-01-28 23:55 | 18.2387 | 13.5483
2026-01-29 23:55 | ND | 13.5483 | Insufficient valid Data due to power outage
2026-01-30 23:55 | ND | 13.5483 | Insufficient valid Data due to power outage
2026-01-31 23:55 | 162.901 | 18.6984 | Bushfire activity in surrounding area
2026-02-01 | 125.9904 | 22.2748 | Bushfire activity in surrounding area
2026-02-02 | 18.0425 | 22.1383
2026-02-03 | 12.8236 | 21.8472
2026-02-04 | 24.6578 | 21.9324
2026-02-05 | 15.1155 | 21.7319
2026-02-06 | 28.3078 | 21.9198
2026-02-07 | 29.8855 | 22.141
2026-02-08 | 29.4904 | 22.3397
2026-02-09 | 8.7783 | 21.9828
2026-02-10 | 17.9372 | 21.879
2026-02-11 | 21.4965 | 21.8695
2026-02-12 | 18.6455 | 21.7909
2026-02-13 | 12.4869 | 21.5693
2026-02-14 | 7.9704 | 21.2531
2026-02-15 | 7.2094 | 20.9339
2026-02-16 | 4.6306 | 20.5716
2026-02-17 | 5.2834 | 20.2393
2026-02-18 | ND | 20.2393 | insufficient valid data due to contamination in laser chamber
2026-02-19 | ND | 20.2393 | insufficient valid data due to contamination in laser chamber
2026-02-20 | ND | 20.2393 | insufficient valid data due to contamination in laser chamber
2026-02-21 | 10.1541 | 20.0247
2026-02-22 | 9.7179 | 19.81
2026-02-23 | 18.8943 | 19.7913
2026-02-24 | 15.8999 | 19.7134
2026-02-25 | 9.0974 | 19.5053
2026-02-26 | 9.4633 | 19.3122
2026-02-27 | 10.6165 | 19.1481
2026-02-28 | 12.4108 | 19.0233
2026-03-01 | 6.0474 | 18.7874
2026-03-02 | 8.2719 | 18.5996
2026-03-03 | 8.9979 | 18.4312
2026-03-04 | 10.4029 | 18.2928
2026-03-05 | 11.5239 | 18.178
2026-03-06 | 19.3802 | 18.1981
2026-03-07 | 18.4231 | 18.2018
2026-03-08 | 8.3129 | 18.0423
2026-03-09 | 5.7839 | 17.8477
2026-03-10 | 7.0104 | 17.6783
2026-03-11 | 8.5149 | 17.5374
2026-03-12 | 20.4808 | 17.582
2026-03-13 | 20.5393 | 17.6261
2026-03-14 | 13.9446 | 17.572
2026-03-15 | 13.1836 | 17.5084
2026-03-16 | 8.7051 | 17.3826
2026-03-17 | 9.2701 | 17.2683
2026-03-18 | 11.1024 | 17.1827
2026-03-19 | 6.7557 | 17.0399
2026-03-20 | 4.976 | 16.8769
2026-03-21 | 4.9321 | 16.7176
2026-03-22 | 4.3409 | 16.5547
2026-03-23 | 6.4015 | 16.4229
2026-03-24 | 10.195 | 16.343
2026-03-25 | 8.6173 | 16.2452
2026-03-26 | 7.2562 | 16.1329
2026-03-27 | 1.806 | 15.956
2026-03-28 | 7.347 | 15.851
2026-03-29 | 9.7004 | 15.7769
2026-03-30 | 7.7948 | 15.6819
2026-03-31 | 6.6884 | 15.5761
2026-04-01 | 8.8603 | 15.498
2026-04-02 | 7.9412 | 15.4111
2026-04-03 | 12.7504 | 15.3809
2026-04-04 | 12.3933 | 15.3473
2026-04-05 | 8.0758 | 15.2665
2026-04-06 | 4.9643 | 15.1533
2026-04-07 | 8.8983 | 15.0853
2026-04-08 | 7.347 | 15.0021
2026-04-09 | 13.8978 | 14.9904
2026-04-10 | 13.2772 | 14.9723
2026-04-11 | 8.992 | 14.91
2026-04-12 | 6.3693 | 14.822
2026-04-13 | 9.8057 | 14.7708
2026-04-14 | 9.3462 | 14.716 | Some data removed due to Calibration /Maintenance (20 minutes)
2026-04-15 | 21.6751 | 14.7856
2026-04-16 | 14.0383 | 14.7782
2026-04-17 | 12.5016 | 14.7559
2026-04-18 | 9.1969 | 14.7019
2026-04-19 | 13.5963 | 14.6913
2026-04-20 | 13.2685 | 14.6777
2026-04-21 | 9.6272 | 14.6301
2026-04-22 | 8.992 | 14.5774
2026-04-23 | 9.8028 | 14.5332
2026-04-24 | 10.9531 | 14.5003
2026-04-25 | 7.3294 | 14.4352
2026-04-26 | 5.8161 | 14.3575
2026-04-27 | 3.1203 | 14.2572
2026-04-28 | 2.2304 | 14.1507
2026-04-29 | 3.653 | 14.0587
2026-04-30 | 5.1312 | 13.981
2026-05-01 | 6.7177 | 13.9184
2026-05-02 | 13.6666 | 13.9163
2026-05-03 | 13.4946 | 13.9127
2026-05-04 | 7.4868 | 13.8587
2026-05-05 | 5.333 | 13.7876
2026-05-06 | 5.3002 | 13.7175
2026-05-07 | 19.1953 | 13.7624
2026-05-08 | 7.9686 | 13.7153
2026-05-09 | 6.7502 | 13.6591
2026-05-10 | 11.7721 | 13.644
2026-05-11 | 13.354 | 13.6417
2026-05-12 | 11.4313 | 13.6243
2026-05-13 | 4.5068 | 13.5531
2026-05-14 | 3.7876 | 13.4774
2026-05-15 | 3.6432 | 13.4017
2026-05-16 | 7.6199 | 13.3576
2026-05-17 | 6.2842 | 13.304
2026-05-18 | 10.6555 | 13.2841
2026-05-19 | 1.5156 | 13.1963
2026-05-20 | 2.7184 | 13.1187
2026-05-21 | 7.6988 | 13.0788
2026-05-22 | 9.129 | 13.05
2026-05-23 | 10.5495 | 13.0319
2026-05-24 | 14.4878 | 13.0423
2026-05-25 | 11.6501 | 13.0324
2026-05-26 | 11.239 | 13.0197
2026-05-27 | 13.1852 | 13.0208
2026-05-28 | 4.224 | 12.9593
2026-05-29 | 5.094 | 12.9047
2026-05-30 | 2.8675 | 12.8355
2026-05-31 | ND | 12.8355 | insufficient valid data - flow issue due to damaged pump. Pump replaced 03/06/2026
2026-06-01 | ND | 12.8355 | Insufficient valid data - ongoing flow issues
2026-06-02 | ND | 12.8355 | Insufficient valid data - ongoing flow issues
2026-06-03 | 3.0382 | 12.7684
2026-06-04 | 2.8208 | 12.7007
2026-06-05 | 2.058 | 12.6288
2026-06-06 | 8.3033 | 12.5998
2026-06-07 | 7.0848 | 12.563
2026-06-08 | 6.9562 | 12.5259
2026-06-09 | 4.2387 | 12.4713
2026-06-10 | 4.4647 | 12.419
2026-06-11 | 6.6152 | 12.3813
2026-06-12 | 6.7118 | 12.3447
2026-06-13 | 12.5191 | 12.3459
2026-06-14 | 8.2514 | 12.3198
2026-06-15 | 8.3568 | 12.2947
2026-06-16 | 7.5724 | 12.265
2026-06-17 | 9.8145 | 12.2497
2026-06-18 | 9.1764 | 12.2306
2026-06-19 | 4.1647 | 12.1808
2026-06-20 | 1.5794 | 12.1158
2026-06-21 | ND | 12.1158 | Insufficient valid data - ongoing flow issues
2026-06-22 | 3.6751 | 12.0643
2026-06-23 | 3.6125 | 12.0131
2026-06-24 | 2.2478 | 11.9543
2026-06-25 | 4.1389 | 11.9075
2026-06-26 | 2.7807 | 11.8531
2026-06-27 | 3.0383 | 11.801
2026-06-28 | 3.0822 | 11.7497
2026-06-29 | 4.7799 | 11.7089
2026-06-30 | 6.2552 | 11.6772
2026-07-01 | 4.7331 | 11.6371
2026-07-02 | 2.8012 | 11.5863
2026-07-03 | 2.5788 | 11.5348
2026-07-04 | 6.3371 | 11.5053
2026-07-05 | 6.8728 | 11.4791
2026-07-06 | 7.0835 | 11.4544
2026-07-07 | 7.3587 | 11.4315
2026-07-08 | 4.897 | 11.3952
2026-07-09 | 4.8063 | 11.3588
2026-07-10 | 4.1213 | 11.3191
2026-07-11 | 12.001 | 11.3228
2026-07-12 | 5.1429 | 11.2892
2026-07-13 | 8.5529 | 11.2744
2026-07-14 | 5.4649 | 11.2432
2026-07-15 | 15.0042 | 11.2633
2026-07-16 | 11.7142 | 11.2657
2026-07-17 | 6.4776 | 11.2404
2026-07-18 | 4.4228 | 11.2045
2026-07-19 | 6.1732 | 11.1781
2026-07-20 | 5.3039 | 11.1475
2026-07-21 | 5.9923 | 11.1208 | 50 minutes of data excluded due to power outage
2026-07-22 | 6.6591 | 11.0978
2026-07-23 | 4.1448 | 11.0622
2026-07-24 | 3.9135 | 11.0257
2026-07-25 | 7.9558 | 11.0101
2026-07-26 | 6.6269 | 10.988
2026-07-27 | 6.2025 | 10.9639
2026-07-28 | 7.707 | 10.9477
2026-07-29 | 4.4375 | 10.9153
2026-07-30 | 7.5378 | 10.8985 | 1 hour and 5 minutes of data excluded due to Maintenance / Calibration
2026-07-31 | 6.5274 | 10.877
ND = No Data available
Note on D32: S Dooley: C.Davies email to Client 01/02/26
Note on D33: S Dooley: C.Davies email to Client 01/02/26
Note on D34: S Dooley: C.Davies email to Client 01/02/26
Note on D35: S Dooley: C.Davies email to Client 01/02/26
Note on D52: S Dooley: email to client C. Neilands 20/02/26
Note on D53: S Dooley: email to client C. Neilands 20/02/26
Note on D54: S Dooley: email to client C. Neilands 20/02/26